**NA:2015 to I.S. EN 206:2013**

ND.2 Form A – Schedule for the specification requirements of designed mixes

|  |
| --- |
| **Form A – Schedule for the specification requirements of designed mixes** |
| These mixes below shall be supplied as designed mixes in accordance with the relevant clauses of I.S. EN 206 |
| 1. Mix reference |  |  |  |  |
| 2. Strength class |  |  |  |  |
| 3. Nominal maximum size of aggregate, in mm (D) |  |  |  |  |
| 4. Types of aggregate CoarseOther (specify requirements) | I.S. EN 12620 |  |  |  |
| FineOther (specify requirements) | I.S. EN 12620 |
| 5. Cement type(s) complying with: (delete as appropriate) | CEM I N |  |  |  |
|  | CEM I R |
| (Select from Tables NA.2 and NA.3. For key to abbreviations see Table ND.1) | CEM I/SRCEM II/A-L (or A-LL) |
|  | CEM II/A-V |
|  | CEM II/B-V |
|  | CEM II/A-S |
|  | CEM II/B-S |
|  | CEM II /A-M (S-L) |
|  | CEM II /A-M (S-V) |
|  | CEM II /A-M (V-L) |
|  | CEM II /B-M (S-L) |
|  | CEM II /B-M (S-V) |
|  | CEM II /B-M (V-L) |
|  | CEM III/A |
|  | CEM III/B |
| 6. Additions complying with: (delete as appropriate) (Refer to NA.2.7. See Table ND.2 for key to abbreviations) | pfa ggbs |  |  |  |
| 7. Sulfate class, if applicable (delete as appropriate) | XA 1 / 200 - 600 SO42-XA 2 / 600 - 1400 SO42-XA 2 / 1400 - 3000 SO42-XA 3 / 3000 - 6000 SO42- |  |  |  |
| 8. Exposure Class (as in I.S. EN 206) (or combinations) | X0XC1, XC2, XC3, XC4 XS1, XS2, XS3 XD1, XD2, XD3XF1, XF2, XF3, XF4 XA1, XA2, XA3 |  |  |  |
| 9. Chloride Class | Cl 1,0Cl 0,40Cl 0,20Cl 0,10 |  |  |  |
| 10. Minimum cement content, kg/m3 |  |  |  |  |
| 11. Maximum free water / cement ratio |  |  |  |  |
| 12. Quality assurance requirements |  |  |  |  |
| 13. Rate of sampling intended by the purchaser for strength testing (for information) |  |  |  |  |

|  |
| --- |
| **Form A – Schedule for the specification requirements of designed mixes** |
| These mixes below shall be supplied as designed mixes in accordance with the relevant clauses of I.S. EN 206 |
| 14. Other requirements (alkali, etc. as appropriate) |  |  |  |  |
| In the case of fresh concrete the following sould be completed by the purchaser. |  |  |  |  |
| 15. Consistence (Choose one method)Slump ClassCompaction Class Flow Class | S1, S2, S3, S4, S5 C0, C1, C2, C3F1, F2, F3, F4, F5, F6 |  |  |  |
| 16. Method of placing (for information) |  |  |  |  |
| 17. Other requirements by the purchaser of fresh concrete (only if appropriate) |  |  |  |  |